## TheraKan specific protocols
Notes about validation: This refers to specific validation by company. Otherwise, links to published studies by others will be provided if available
List of protocols
Basic protocol for assembling and use of TheraKan devices
Summary | This protocol teaches users how to assemble and use TheraKan devices
Validated for: | PyVmT, DCIS.com, MDA-MB-231 breast cancer cell lines, OSC-3 osteosarcoma cell line
Requirements | tissue culture hood, incubator, reagents for 3D cultures, tissue culture plates 3.5 cm in diameter or larger
Recommendations: | recommend using the lubricant included to assemble devices. Forceps to open and close devices.
Reference: | Watch the instruction video https://www.fenniklifesciences.com/therakan
Establishing 3D collagen cultures in devices
Summary | This protocol teaches users how to establish 3D collagen cultures in devices
Validated for: | cultures of PyVmT, DCIS.com, MDA-MB-231 breast cancer cell lines, OSC-3 osteosarcoma cell line
Requirements | collagen, setting solution, ice
Recommendations: | for replicates, make a master mix of cells and collagen solution.
Reference: | Fang et al Oncotarget 2016, Vishwakarma et al Scientific Reports 2018, Brummer G et al Oncogene 2020
3D macrophage infiltration assay
Summary | This assay is to measure live murine Raw264.7 or human Thp1 immortalized monocyte/macrophage cell lines infiltrated to 3D cultures established in the TheraKan devices over time
Validated for 3D cultures of: | PyVmT, DCIS.com, MDA-MB-231 breast cancer cell lines, OSC-3 osteosarcoma cell line
Requirement for data collection | If analyzing by microscope, inverted luoresence microscope with 10X, 20X objective for detection of green (GFP, CFMDA) or red (mcherry, CMTMR) fluoresecence. If analyzing by flow cytometry, reagents for matrix digestion. If analyzing by immunocytochemistry, reagents for paraffin embedding and fixing.
Recommendations: | Assay in test chamber comprised of 6 well plates. Starting Range of Thp1, Raw cell lines- 500k-1 million. Starting range of cells in 3D cultures established in TheraKan devices: 100k-250k in 300-450 ul. Duration-24-48 hours, althrough earlier or longer timepoints can be tested.
Reference: | Fang et al Oncotarget 2016, Vishwakarma et al Scientific Reports 2018, Brummer G et al Oncogene 2020
ELISA for TheraKan devices
Summary | This assay is to used to measure cytokine expression in 3D cultures established in the TheraKan. It can be used to determine changes in cytokine expression before and after immune cell infiltration into TheraKan devices. Media and ECM matrix from 3D cell cultures can be assessed for cytokine expression
Validated for | DCIS.com, MDA-MB-231 breast cancer cell lines for expression of CCL2, IL-6, TGF-b, IL2, CXCL1
Requirement for data collection | Plate reader that can read OD 450nm
Recommendations: | Assay in 6 well plates. Starting Range of Thp1, Raw cell lines- 500k-1 million. Starting range of cells in 3D cultures established in TheraKan devices: 100k-250k in 300-450 ul.Duration-24-48 hours, althrough earlier or longer timepoints can be tested.
References | adapted from Fang et al Oncotarget 2016

## General 3D cell culture protoco
Notes about validation: This refers to specific validation by company. Otherwise, links to published studies by others will be provided if available
3D collagen cultures
Summary | This method is used to culture cells in Rat Tail Collagen 1.
Validated for | PyVmT, DCIS.com, MDA-MB-231 breast cancer cell lines, OSC-3 osteosarcoma cell line
Requirements | Rat Tail Collagen I- isolated in lab or commercially obtained
Recommendations: | Can be performed in 96 well - 24 well plates
Reference | Fang et al Oncotarget 2016
3D collagen: Matrigel cultures
Summary | This method is used to culture cells in Matrigel and Rat Tail Collagen I mix
Validated for | DCIS.com, SUM225 breast cancer cells
Requirements | Rat Tail Collagen I- isolated in lab or commercially obtained, Matrigel - can use growth factor reduced or non Growth Factor reduced
Recommendations: | Can be performed in 96 well - 24 well plates
Reference: Hu et al Open Biol 2019
Separation of cells and matrix from 3D collagen cultures
Summary | This method is used to isolate cells from ecm in 3D cultures. This will also users to analyze cells for flow cytometry, biochemical or molecular approaches. ECM can used for biochemical assays
Validated for | DCIS.com breast cancer cells
Requirements | collagenase
Recommendations: | 24 well plate, 100k-25k in 300-450 ul
test cell viability by trypan blue before proceeding
Separation of cells and matrix from 3D Matrigel cultures
Summary | This method is used to isolate cells from ecm in 3D cultures. This will also users to analyze cells for flow cytometry, biochemical or molecular approaches. ECM can used for biochemical assays
Validated for | In published studies by others
Requirements | NA
Recommendations: | Corning Cell recovery solution cat35423 (4C 1hour) or dispase cat no 35425
Parafin embedding of 3D cultures for immunostaining
Summary | This method is used to embed 3D cultures in paraffin embedding for sectioning and immunohistochemistry/immunofluorscence staining
Validated for | DCIS.com SUM225 breast cancer cell cultures
Requirements | equipment for paraffin embedding, microtome, microscope with phase contrast/bright field capacity, fluorescence
Recommendations: | can be performed in 96 well plates -best results with triplicate samples combined in a block. Can also be used for 3D cultures established in 24 well plates.
Reference: | Hu et al Open Biol 2019
FACs analysis of cells isolated from 3D cultures
Summary | This metod is used isolate cell from 3D cultures for flow cytometry analysis
Validated for | DCIS.com breast cancer cells
Requirement | flow cytometer
Recommendations: | Cell cultures established in 24 well plate
Labeling of cells with CellTracker dye
Summary | This method is used to detect cells by transient fluoresence labeling
Validated for | labeling of Raw264.7, Thp1 monocytes/macrophages and DCIS.com, 4T1, MDA-MB-231 breast cancer cells with CellTracker dye CMTMR, CFMDA
Requirements | Cell Tracker dye obtained from Invitrogen CMTMR, CFMDA. Fluoresence microscope
Recommendations: | Range: 1-3 uM for 250k-1 million cells
Reference | Cheng N et al Molecular Cancer Research 2008
Image J quantification of spheroids
Summary | This method uses NIH free ware (Image J) to quantify spheroid size in 3D cultures
Validated for | SUM225 and DCIS.com
Requirements | Image J download from the internet.
Recommendations: | Best when phase contrast images are high quality- minimal shadows. Even better when cells can be fluorescently labeled and imaged by fluoresent microscopy.
Reference: | Hu et al Open Biol 2019
Aldered assay in 3D culture
Summary | This method is used to quantify ALDH activity in 3D cultures
Validated for | SUM225 and DCIS.com 3D cultures in Matrigel: Collagen
Requirements | Aldred reagent, available from EMT Millipore, Sigma
Recommendations: | may need to optimize timepoints and amounts for your cell line
This assay could be optimized for similar reagents (other fluorochromes) in quantifying ALDH activity
Reference: | Hu et al Open Biol 2019
Collagen invasion assay
Summary | This assay is used to measure invasion of macrophages and breast cancer cells co-cultured together
Validated for | PyVmT and Raw264.7
Requirements | Matrigel, Rat Tail Collagen
Recommendations: | Optimized for 40 ul volume. Can be modified for size plate and cell number.
Reference: | Brummer G et al Oncogene 2020
cytokine detection assay by ELISA
Summary | This assay is to used to measure cytokine expression in 3D cultures established in t24 well plates It can be used to determine changes in cytokine expression before and after immune cell infiltration standard 3D cultures.
Validated for | DCIS.com, MDA-MB-231 breast cancer cell lines for expression of CCL2, IL-6, TGF-b, IL2, CXCL1
Requirement for data collection | Plate reader that can read OD 450nm
Recommendations: | Assay in 24 well plates. Starting range of cells in 3D cultures established in TheraKan devices: 100k-250k in 300-450 ul.Duration-24-48 hours, althrough earlier or longer timepoints can be tested.
Reference | Fang et al, Oncotarget 2016